## TIER 1 - Deliverables Checklist
HARVARD GREEN BUILDING STANDARDS DELIVERABLES Updated 12.01.2014 | TIER 1
Please use this cover sheet to submit Harvard Green Building Standards documentation as part of the Campus Services capital project review process. Email this Excel file and required deliverables to Campus Services each time a formal design review is requested, and provide information relevant to each stage of construciton. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
School/Unit: Project Manager:
Project: CAPS Number: Design Start/End: Construction Start/End:
Please indicate the date that this Harvard Green Building Standards documentation was submitted for review (at each phase).
ANALYSIS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the LBC Feasibility and Net Zero Feasibility tabs in this document complete? |  | N/A | N/A | N/A
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the Integrated design charette meeting notes, with sustainability goals, attached? (TIER 1: minimum 3 meetings) |  |  |  | N/A
Has the team completed the LEED documentation neccessary to the requirements of LEED IP credit 1: Integrative Process? |  | N/A | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the completed Harvard LCC calculator(s) been included in the submittal? |  |  |  | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the model results comparing potential options, with a summary of assumptions, inputs and outputs, attached? |  |  |  | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
If the project includes a parking garage, commercial space, a large kitchen, or data centers/large data closets, is a plan for separately metering all utilities in those spaces included in the project? | N/A |  |  | N/A
If a building management system exists, are meters tied into the building management system? | N/A |  |  | N/A
Is the Measurement and Verification (M&V) plan attached? | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard demonstrating minimum LEED Gold attached? Include confirmation that LEED credits required by Harvard will be achieved.
Is the project's commissioning documentation (i.e. commissioning plan, report) attached?
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is the digital as-built energy model, with summary of inputs and outputs, attached? | N/A | N/A | N/A
Has access to the LEED-Online project been provided to harvardgbs@gmail.com? | N/A | N/A | N/A
Is the project profile/case study, using the Harvard template, attached or already loaded onto the Harvard Green Building Resource? | N/A | N/A | N/A
Is the narrative about sustainability lessons learned attached? | N/A | N/A | N/A
Date:
Project Team Comments
don't erase (for drop down boxes):
Yes
No
Partial
N/A

## TIER 1 - LBC Feasibility
LIVING BUILDING CHALLENGE v3.0 FEASIBILITY CHECKLIST Updated 12.01.2014 |  |  | TIER 1 | Building
The intent of this exercise is for project teams to develop an early phase analysis of whether Living Certification, Petal Certification, or Net Zero Energy Certification may be possible using the Living Building Challenge system. Teams should review the requirements of each Imperative and determine, using the information available to the team about the project at Schematic Design, whether each credit is likely to be achievable based on the current understanding of the project scope, budget, and design options. Please provide a 1-2 sentence explanation for each credit that is deemed not to be feasible.
Project Name: |  |  |  | Landscape + Infrastructure
Project Scale: | Building |  |  | Renovation
Date: |  |  |  | Neighborhood
Yes
PLACE | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible) |  | No
Limits to Growth |  |  |  | N/A
Urban Agriculture
Habitat Exchange
Human Powered Living
WATER | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Net Positive Water
ENERGY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Net Positive Energy |  | Complete "Net Zero Feasibility" Tab for explanation information.
HEALTH & HAPPINESS | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Civilized Environment
Healthy Interior Environment
Biophilic Environment
MATERIALS | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Red List
Embodied Carbon Footprint
Responsible Industry
Living Economy Sourcing
Net Positive Waste
EQUITY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Human Scale + Humane Places
Universal Access to Nature and Place
Equitable Investment
JUST Organizations
BEAUTY | Feasible? (Yes/No/NA) | Explanation (Response required if listed as not feasible)
Beauty + Spirit
Inspiration + Education
Details about each of the credits listed above can be found here.

## TIER 1 - Net Zero Feasibility
NET ZERO ENERGY TARGET TOOL Updated 12.01.14 |  |  | TIER 1
Intent | The intent of this tool is to provide a quick assessment, suitable at the conceptual and schematic design stages of a project, to determine reasonable reference energy use intensities (EUIs) and the potential renewable generation capacity of the project site and roof. These are only intended to provide a starting point for discussion on the feasibility of attaining Net Zero Energy for the project. It is expected that the design team refine these calculations, supported by energy modeling and other tools, as the design progresses. Project specific EUI targets may differ from the reference EUIs provided below.
Instructions | Enter the total site area, anticipated roof area, and the project area by sector type in the appropriate fields below in the INPUTS section in the cells marked in green. Reasonable estimates are appropriate at this stage. If a building has multiple project types, enter those based on the GSF assigned to each project type. Mouse-over cells with red triangles for additional information.
Assumptions | Unless otherwise noted, the reference EUI's below represent the top 10% performers of existing facilities on the Harvard campus of that project type, though some figures were revised to reflect regional or national top performers when insufficient data at Harvard is available. All Harvard energy use is based on FY14 data as included in the HARA reporting system.
RENEWABLE GENERATION INPUTS
Total Site Area: | 0 | sf |  | Solar PV Capacity / sf*year (kBtu) | 44.57
Total Roof Area: | 0 | sf |  | Solar Thermal Capacity / sf*year (kBtu) | 64.9256
ENERGY CONSUMPTION INPUTS
PROJECT TYPE | Area (GSF) | % Total | Total Reference Energy Budget (kBtu) | % Total | REFERENCE SITE EUI kBtu/sf*year
DORM/RESIDENTIAL | 0 | #DIV/0! | 0 | #DIV/0! | 42.8
OFFICE | 0 | #DIV/0! | 0 | #DIV/0! | 33.8
CLASSROOM | 0 | #DIV/0! | 0 | #DIV/0! | 47.3
WET LAB | 0 | #DIV/0! | 0 | #DIV/0! | 178.7
FOODSERVICE | 0 | #DIV/0! | 0 | #DIV/0! | 200
LIBRARY | 0 | #DIV/0! | 0 | #DIV/0! | 67.3
ATHLETICS | 0 | #DIV/0! | 0 | #DIV/0! | 40.5
MUSEUM | 0 | #DIV/0! | 0 | #DIV/0! | 63.7
GARAGE | 0 | #DIV/0! | 0 | #DIV/0! | 4.6832
RETAIL | 0 | #DIV/0! | 0 | #DIV/0! | 38.2
DRY LAB | 0 | #DIV/0! | 0 | #DIV/0! | 52.4473
CUSTOM | 0 | #DIV/0! | 0 | #DIV/0! | 0
RESULTS
PROJECT CONSUMPTION |  |  | RENEWABLE PRODUCTION POTENTIAL
0 | Total Project Area |  | 0 | Rooftop PV Production (kBtu/year)
0 | Total Project Energy Budget (kBtu) |  | 0 | Full Site PV Production (kBtu/year)
#DIV/0! | Total Project Target EUI (kBtu/GSF) |  | #DIV/0! | Roof Generation Intensity (kBtu/GSF)
|  |  | #DIV/0! | Site Generation Intensity (kBtu/GSF)
|  |  | 0 | Rooftop Thermal Production (kBtu/year)
|  |  | 0 | Full Site Thermal Production (kBtu/year)
|  |  | #DIV/0! | Roof Generation Intensity (kBtu/GSF)
|  |  | #DIV/0! | Site Generation Intensity (kBtu/GSF)
NET ZERO ANALYSIS
|  | Roof PV Generation/Consumption Ratio: | #DIV/0! | Near or greater than 100% indicates the project has the potential to be net zero. Solar thermal is limited by the amount of hot water demand on site.
|  | Site PV Generation/Consumption Ratio: | #DIV/0!
|  | Roof Thermal Generation/Consumption Ratio: | #DIV/0!
|  | Site Thermal Generation/Consumption Ratio: | #DIV/0!
Design Team Comments:
Note on A6: INSTRUCTIONS: Enter the total site area within the limit of work. We realize that it is unlikely that this area would be able to be completely covered in renewable energy, but this metric is used to show the hypothetical maximum of the site.
Note on F6: Source: Based on the weighted average per sqaure foot intensity of solar projects 1145 kW of installed capacity across five sites at Harvard. This figure represents actual consumption in 2013 (calendar year), not estimates.
Note on A7: INSTRUCTIONS: Enter the total roof area, not just the expected area that will be free from obstructions or shade. This is designed to show the hypothetical maximum of what the roof could support.
Note on F7: Source: https://secure.solar-rating.org/Certification/Ratings/RatingsSummaryPage.aspx Based on characteristics of panel 2012039A, a glazed flat plate collector. Assumes Category E. Boston assumes "Medium Radiation".
Note on A9: INSTRUCTIONS: Enter the gross floor area of the building type that is most closely aligned with the project program. Hallways, restrooms, mechanical/electrical and other support spaces should be split among each building type as appropriate.
Note on F10: Reference: Harvard FY14 EUI data from 146 individual buildings and 4 full upperclassman houses - Value is the average of the top 10% results for "Residential" (43.0) and "Dormitory" (42.6) style housing. Our internal data provides separate figures for apartment style 'Residential' facilities and dormitory buildings, but the median and Top 10% values were very similar. As a result, a single figure is provided for reference.
Note on F11: Reference: Harvard FY14 EUI data from 121 buildings - Value is the top 10% figure across all properties.
Note on F12: Reference: Harvard FY14 EUI data from 19 buildings - Value is the top 10% figure across all properties.
Note on F13: Reference: Harvard FY14 EUI data from 38 buildings - Value is the top 10% figure across all properties. Our EUI data varies greatly across all wet lab building types, which is expected for buildings with large process loads driving consumption.
Note on F14: Source: Based on energy models of the HBS Chao facility due to the lack of benchmark data at Harvard to date.
Note on F15: Reference: Harvard FY14 EUI data from 13 buildings - Value is the top 10% figure across all properties.
Note on F16: Reference: Harvard FY14 EUI data from 16 buildings - Value is the top 10% figure across all properties.
Note on F17: Reference: Harvard FY14 EUI data from 9 buildings - Value is the top 10% figure across all properties.
Note on F18: Reference: Harvard FY14 EUI data from 7 buildings - Value is the top 10% figure across all properties. Note that there is a reasonable difference between the consumption of above-grade and below-grade garages. Harvard's above-grade mean EUI is 5.4 kBtu/sf, while the mean below-grade EUI is 14.3 kBtu/sf likely due to the 24 hour lighting and additional fan/pump energy required for below-grade facilities.
Note on F19: Reference: Harvard's dataset for retail/commercial space is limited, but produced a 10% value of 28.2. To account for a larger dataset beyond what Harvard is able to provide internally, this was averaged with the CBECS 2003 mean consumption of 48.1 to result in a blended recommendation of 38.2 kBtu/sf.
Note on F20: Reference: Based on FY12 data including 10 buildings and based on the top 10% value for those facilities.
Note on F21: Instructions: If you already have energy model data available or more refined EUI figures available for your project type, please enter the area in the cell to the left and the reference EUI in this cell.

## TIER 2A+2B - Deliverable List
HARVARD GREEN BUILDING STANDARDS DELIVERABLES Updated 12.01.2014 | TIER 2A/B
Please use this cover sheet to submit Harvard Green Building Standards documentation as part of the Campus Services capital project review process. Email this Excel file and required deliverables to Campus Services each time a formal design review is requested, and provide information relevant to each stage of construciton. Please use the comments box to 1) explain any areas of non-compliance with the Standards or the required deliverables, and 2) highlight any areas of innovation or unexpected results.
School/Unit: Project Manager:
Project: CAPS Number: Design Start/End: Construction Start/End:
Please indicate the date that this Harvard Green Building Standards documentation was submitted for review (at each phase).
INTEGRATED DESIGN | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the Integrated design charette meeting notes, with sustainability goals, attached? (TIER 2: minimum 2 meetings) |  |  | N/A | N/A
LIFE CYCLE COSTING/VALUE ENGINEERING | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Have the completed Harvard LCC calculator(s) been included in the submittal? |  |  |  | N/A
ENERGY MODELING AND GHG CALCULATIONS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Are the estimated energy demand, consumption impacts, and GHG emissions of proposed key design options, with proposed strategy to verify performance, attached? |  |  |  | N/A
ONGOING VERIFICATION OF PERFORMANCE | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
If the project includes a parking garage, commercial space, a large kitchen, or data centers/large data closets, is a plan for separately metering all utilities in those spaces included in the project? | N/A |  |  | N/A
PRESCRIPTIVE REQUIREMENTS AND LEED CERTIFICATION | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is a LEEDv4 scorecard attached? LEED certification is not required for Tier 2, though prescriptive requirements which reference LEED standards must be achieved. | N/A
Is the project's commissioning documentation (i.e. commissioning plan, report) attached? | N/A | N/A | N/A
CLOSEOUT DOCUMENTATION AND O&M READINESS | Schematic Design | Design Development | Construction Documents | Close-out/ Turnover
Is the project profile/case study, using the Harvard template, attached or loaded on Green Building Resource? | N/A | N/A | N/A
Has access to the LEED-Online project been provided to harvardgbs@gmail.com? | N/A | N/A | N/A
Date:
Project Team Comments
don't erase (for drop down boxes):
Yes
No
Partial
N/A

## LABS - Best Practices Checklist
Building Name: |  | Building Manager:
Lab Best Practice ECM Checklist
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Retro-commissioning of facility - BAS system installed? Critical equipment monitored?
On-going or monitoring based commissioning of facility - BAS system installed? Critical equipment monitored?
Building System Inventory
BAS & PROGRAMMING
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Dewpoint Enhanced program w/ no htg/clg/humid overlap
Interlock operation of associated equipment
Install occ sensors on HVAC (possibly fume hoods as well) & Lighting equipment
Occ sensors programmed to specific lab area ("just enough"; ie 7-8 min)
Appropriate equipment scheduling
Optimize start up time & equipment sequencing
Implement economizers in all non-lab spaces
Consistent Space Temperature Setting Clg/Htg w/ setbacks
Install variable frequency drives on SAF, RAF, HHW, CHW where appropriate
Chiller and Cooling Tower optimiziation
Automatic reset for static pressure and differential pressure - demand based
Supply/return resets, based on demand
Review of DDC point alarming and adjustment for more of an ongoing CX and alarm flag response
CHILLED WATER
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Identify Current Delta T (<10 F?)
Dedicated chillers/HP's for IT rooms w/reclaim
Variable Speed Drives installed on Pumps?
"Tower-side economizer" for free cooling
Cooling coil PM
VFDs on condenser water loop pumps
VFDs on cooling tower fans
Identify current ACH rate. Can it be improved / reduced during unoccupied periods?
Reduce face velocity on hoods w/ setback
Close unused blast gates, temporarily decommission fume hoods not in use
LIGHTING
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
T5 lighting
T8 lighting
LED lighting
Elevators/Exit lamps
Work station task lighting
Scheduler/Timer controls
Occupancy sensors
Daylight sensors
Exterior lighting
Exterior lighting controls
Hallways (every 3rd light removal)
De-lamp/disconnect unused ballast
FUME HOODS
ENERGY CONSERVATION MEASURES | Opportunity explored? (Y/N) | Applicable to building? (Y/N) | Why or why not is the measure an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Occ sensors/automatic sash closers
VAV fume hoods
Low flow fume hoods
Tracking max and min air flows and face velocity?
Determine location of diffusers, ducts, exhaust stacks vs.intake, checking connections for exhaust fans, airfoil, position of baffle, calibrating fume hood monitors, double-check VAV operations
Sensor calibration
POTENTIAL
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Freezers system upgrades; defrost, pumpdown monitoring, preventive maintenance program
Freezers coupled w high efficiency DC/ECM style motors
Vaccum pump upgrade
Energy storage
Heat/Energy Recovery System - heat pipe, energy recovery wheel, etc.
Terminal unit coils
Radiant cooling
Ventilation decoupled from cooling
Distilled/DI Water
Matching degree of purification to the need
RO versus other water purification techniques?
Vapor compression distillation
RENEWABLE ENERGY
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Wind
Solar thermal
Solar PV
Maintenance and Action Items
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Thermostat calibrated (regular waltkhrough w/ thermometers)
Dampers adjusted
Ductwork inspected and leaks sealed
Review sensor location in air handlers
Fans have regular maintenance
Pumps have regular maintenance
Flow, pressure are maintained
Preventive Procedures & tracking log w dates and descriptions
Building Occupant Campaigns - Engagement
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Lab enrolled in a Shut the Sash campaign (*shut doors, close snorkels and turn off lights)
Utility use tracking through Energy Witness monthly subscription reports
User friendly BAS reports on main graphical page (alarms, overrides etc)
It's OK to switch me off stickers
Sustainable Purchasing Policy for Lab Equipment and Products
Review of usage patterns: hoods (how many hours; what are they used for?)
Power Management software for computers
Provide tasklights - instead of overhead
EPEAT Rated computers
Lab adheres to temperature Policy
Procurement Policy: power mode - default on copiers and printers
FILTERS
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
BAS monitoring pressure drop for filter replacement
PH System
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)
Wastewater Treatment (PH) system upgrade/re-programming
INSULATION/ ENVELOPE
ENERGY CONSERVATION MEASURES | Opportunity? (Y/N) | Applicable? (Y/N) | Why or why not is it an opportunity or applicable? What is the scale of possible annual savings, payback period, etc…)